## Instructions
Brief Instructions:
This is a simplified residential solar hot water system calculator. It provides consumer information on the energy, cost and environmental savings potential of residential solar hot water systems in Florida.
Page 1: To use this calculator, select the Page 1 tab and answer the two questions at the top of the form using the pull down menus provided by the pale yellow cells (Just click on the pale yellow cells and the pull-down menu will appear.
For the second question, if your home is north of Volusia county, select "North" and if your home is south of St. Lucie County, select "South." Otherwise, select "Central."
The calculator for Page 1 depends on a number of pre-selected assumptions. To view these assumptions, click on the [+] sign at the left-hand side of the screen.
Page 2: This tab is used to refine the assumptions used on Page 1. Each input parameter can be modified on the Page 2 tab to suit the consumer's individual situation.

## Page 1
Simplified Solar Hot Water System Calculator:
Please answer the following two questions: | [11 empty] | Comments:
| How many people live in your home? | 4 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | [ Determines the amount of hot water used in the home ]
| In what area of Florida do you live? | North |  | 1: North; 2: Central; 3: South | [ Determines the temperature of the city water coming into the hot water system ]
Solar Savings Results:
| Annual energy cost savings = | 262.0298 | $/year | [8 empty] | [ Difference in annual operating cost between standard and solar system ]
| Annual solar energy savings = | 2322.9594 | kWh/year | [8 empty] | [ Difference in annual energy use between standard and solar system ]
| Annual CO2 savings = | 3214.9758 | lb/year | [8 empty] | [ Difference in carbon dioxide emissions between standard and solar system ]
| Annual Solar Fraction = | 75.08% | percent | [8 empty] | [ Percentage of hot water energy provided by solar energy ]
Economic Results:
| Simple payback period = | 8.8921 | years | [8 empty] | [ Number of years for the solar system to completely pay for itself -- generally much shorter than its useful lifetime of about 30 years ]
| Cost of solar energy savings = | 6.1578 | ¢ / kWh | [8 empty] | [ As compared with 11.3¢ per kWh Florida September 2007 average retail price ]
| Internal Rate of Return on investment = | 13.26% | per annum | [8 empty] | [ Annual compound interest rate the savings from the solar system investment produces over its useful lifetime ]
| Net Present Value of investment = | 3532.1999 | present $ | [8 empty] | [ Net Present Value (NPV) equals the Present Value, calculated at the discount rate, of all future cash flows minus the investment cost, which is assumed to occur in the initial year ]
Assumptions used to achieve the above results:
| Solar System Energy Factor (EF) = | 4 | [9 empty] | [ Only the actual installed product rating will yield accurate calculator results ]
| Hot Water Use Intensity = | Medium | [9 empty] | [ Modifies gallons per day of hot water use by 1.5 (high), 1.0 (medium) & 0.5 (low), respectively ]
| Solar System Cost = | 4400 | [9 empty] | [ Only dealer quotes for installed solar system cost will yield accurate calculator results ]
| IRS Tax Credit (30% of Cost) = | 1320 | [9 empty] | [ Only avaliable for solar systems with EF > 1.8 ]
| FL State Rebate = | 500 | [9 empty] | [ Only for systems manufactured in Florida, otherwise $300 ]
| FL Utility Rebate = | 0 | [9 empty] | [ Only presently available in Progress Energy territory ]
| Standard System Type = | Electric | [9 empty] | [ ~90% of Florida residences do not have access to natural gas ]
| Discount Rate = | 4.5% | per annum | [8 empty] | [ Generally accepted rate for capitol investments made by corporations ]
| General Inflation Rate = | 3% | per annum | [8 empty] | [ Generally accepted annual cost of living inflation rate ]
| Electricity Price = | 0.1128 | per kWh | [8 empty] | [ U.S. Energy Information Administration: Florida Statewide average for September 2007 ]
| Natural Gas Price = | 2.154 | per therm | [8 empty] | [ U.S. Energy Information Administration: Florida Statewide average for 2006 ]
| Fuel Escallation Rate = | 0% | per annum | [8 empty] | [ Generally accepted rate based on past history ]
Proceed to Page 2 to revise these assumptions.
To view or hide assumptions for the above results, click on the [+] or [-] sign in the left margin
NOTE: If cells C16 & C17 result is the value #NAME?, then you must enable the Analysis Toolpack. Take the following actions: select Tools > Add Ins … from the menu bar at the top of the screen, check the Analysis Toolpack selection and click OK. Excel will then install the Analysis Toolpack. Reload this spreadsheet and the values in cells C16 & C17 will function properly.
Note on C20: FSEC: Assumed value depends on #people in home and climate region.
Note on C22: FSEC: Assumed value depends on #people in home and climate region.

## Page 2
Revised Solar Hot Water System Calculator:
Input revised values in pale yellow cells below:
| Solar System Energy Factor (EF): | 4 |  | [ Enter from Lookup based on system at this web site: |  |  |  |  | http://www.fsec.ucf.edu/en/industry/testing/STsystems/ratings/
| Hot Water Use Intensity: | Medium |  | [ Estimate the relative intensity of hot water use in the home (e.g. 2 teenagers in home would probably be "High" ] | [6 empty] | High | Medium | Low
| Solar System Cost: | 4400 |  | [ Enter quote for installed system -- find dealers/installers at this web site: | [5 empty] | http://www.flaseia.org/
| IRS Tax Credit (30% of Cost): | Yes | -1320 | [ Select "Yes" if solar system EF > 1.8, otherwise "No" |  |  | 1320
| FL State Rebate: | Yes | -500 | [ Select "Yes" if elegible see this web site: | Yes | No | 500 | http://www.dep.state.fl.us/energy/incentives.htm
| FL Utility Rebate Amount: | 0 |  | [ Enter utility program cash rebate or incentive, if available ]
| Standard System Type: | Electric |  | [ Select either Electric or Gas ] | Electric | Gas
| Discount Rate: | 4.5% | per annum | [ Enter annual compound discount rate ]
| General Inflation Rate: | 3% | per annum | [ Enter annual compound general inflation rate ]
| Retail Electricity Price = | 0.1128 | $/kWh | [ Enter total dollars paid to utility divided by total kWh of electricity used ]
| Retail Natural Gas Price = | 2.154 | $/therm | [ Enter total dollars paid to utility divided by total therms of gas used ]
| Fuel Escallation Rate = | 0% | per annum | [ Enter the annual rate at which fuel costs increase over and above the general inflation rate ]
Revised Solar Savings Results:
| Annual energy cost savings = | 262.0298 | $/year | [ Difference in annual operating cost between standard and solar system ]
| Annual solar energy savings = | 2322.9594 | kWh/year | [ Difference in annual energy use between standard and solar system ]
| Annual CO2 savings = | 3214.9758 | lb/year | [ Difference in carbon dioxide emissions between standard and solar system ]
| Annual Solar Fraction = | 75.08% | percent | [ Percentage of hot water energy provided by solar energy ]
Revised Economic Results:
| Simple payback period = | 8.8921 | years | [ Number of years for the solar system to completely pay for itself -- generally much shorter than its useful lifetime of about 30 years ]
| Cost of solar energy savings = | 6.1578 | ¢ / kWh | [ As compared with 11.3¢ per kWh Florida September 2007 average retail price ]
| Internal Rate of Return on investment = | 13.26% | per annum | [ Annual compound interest rate the savings from the solar system investment produces over its useful lifetime ]
| Net Present Value of investment = | 3532.1999 | present $ | [ Net Present Value (NPV) equals the Present Value, calculated at the discount rate, of all future cash flows minus the investment cost, which is assumed to occur in the initial year ]
Assumptions used to achieve the above results:
| Number of people living in home = | 4 |  | [ Return to Page 1 to change this assumption ]
| Florida climate zone = | North |  | [ Return to Page 1 to change this assumption ]

## Calculator (hidden)
Florida Solar Hot Water Calculator
User Inputs: | [11 empty] | Solar Systems:
| No. Occupants | 4 |  | 4400 |  |  |  | North | Central | South |  | #Occ | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
| FL Location | North |  |  |  |  | T-mains: | 74.1533 | 77.4287 | 81.7758 |  | gpd | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110
| Solar System EF | 4 |  | 4 | SEF,corr = | 3.696 | SEF,Corr: | 3.696 | 3.5904 | 3.5488 |  | Collector | ICS 32sf | ICS 32sf | ICS 50sf | 32 sf | 40 sf | 2@32 | 2@40 sf | 2@40 sf
| Solar System Cost | 4400 | installed cost |  | EFe,corr = | 0.921 | EFe,corr: | 0.921 | 0.92696 | 0.89862 |  | Storage | 40 | 40 | 84 | 80 | 80 | 120 | 120 | 120
| IRS Tax Credit | Yes | 1320 | 1320 | 30% | of installed cost |  | Yes | No |  |  | SEF,rated (N) | 2.3 | 2.8 | 3.4 | 4 | 4.6 | 5.2 | 5.8 | 6
| FL State Rebate | Yes | 500 | [8 empty] | Cost (N) | 3400 | 3600 | 4000 | 4400 | 4800 | 5800 | 6200 | 6400
| FL Utility Rebate | No | 0 |  | [Progress Energy only]
| Std. System Type | Electric | [5 empty] | Electric | Gas
Load Variables: | [9 empty] | Other Fixed Variables:
| H2O Use (gal/day) | 70 | gpd |  | [ = 30 + 10 * # Occupants ] | [6 empty] | Std. System EF | 1 40: 0.921; 2 50: [ assumes minimum standard 52 gallon system ]
| H2O density | 8.3 | lb/gal |  | [ standard value ] | [6 empty] | Std. System Cost | 1 40: 300; 2 50: [ assumes $300 for electric and $500 for gas]
| H2O Specific Heat | 1 | Btu/lb-F |  | [ standard value ] | [6 empty] | Std. System Offset | 1 40: 250; 2 50: [ portion of standard system cost that is avoided by solar system (e.g. standard electric tank) ]
| Tank Setpoint | 120 | F |  | [ per plumbing code and system standards ]
| Inlet Temp | 74.1533 | F |  | [ determined by FL location input ] | [5 empty] | EIA price data (as of August 2007)
Load & Energy Calculations: | [11 empty] | Retail Elect. Price | 1 40: 0.1128; 2 50: per kWh; 3 60: [ EIA September 2007 State Average ]
| Daily Load | 26636.9133 | Btu/day |  | [ = Use * density * specific heat * (Setpoint - Inlet Temp) ] | [6 empty] | Retail Gas Price | 1 40: 2.154; 2 50: per therm; 3 60: [ EIA 2006 State Average ]
| Annual Load | 9722.4734 | kBtu/yr |  | [ = Daily Load * 365 / 1000 ]
| Std. System Energy | 3093.9264 | kWh/year |  | [ = Annual Load / Std. EF / (3.412 for kWh OR 100 for therms) ] | [5 empty] | EPA Emissions Data (eGrid v2.1)
| Sol Sys Backup Energy | 770.967 | kWh/year |  | [ = Annual Load / Solar EF / (3.412 for kWh OR 100 for therms) ] | [6 empty] | CO2: | 1 40: 1.384; 2 50: lb/kWh
| Solar Energy Savings | 2322.9594 | kWh/year |  | [ = Std. System Energy - Sol Sys Backup Energy ] | [6 empty] | Natural gas
| Solar Dollar Savings | 262.0298 | $/year |  | [ = Solar Energy Savings * Retail Elect. Price ] | [6 empty] | CO2: | 1 40: 11.935; 2 50: lb/therm
| Solar Fraction | 75.08% | percent |  | [ = (Std.System Energy - Sol System Backup Energy) / (std. System Energy) ]
Economic Indicators:
| Net Solar System Cost | 2330 |  |  | [ = Solar System Cost - IRS Tax Credit - FL State Rebate - FL Utility Rebate - Std. System Offset ]
| Simple payback | 8.8921 | years |  | [ = Net Solar Cost / Solar Dollar Savings ]
| Internal Rate of Return | 13.26% |  |  | [ see Econ tab ]
| Net Present Value | 3532.1999 |  |  | [ see Econ tab ]
| Levelized cost of savings | 6.1578 | ¢ / kWh | [6 empty] | Monthly Energy Use
Life Cycle Cost Analysis: |  | Std. System |  | Solar System |  | Solar Savings
| after 5 years | 2102.8613 |  | 3041.7094 |  | -938.8481 |  |  |  |  | Jan
| after 10 years | 4654.0103 |  | 4148.1216 |  | 505.8887 |  |  |  |  | Feb
| after 15 years | 7144.1009 |  | 4768.6204 |  | 2375.4805 |  |  |  |  | Mar
| after 20 years | 10572.6318 |  | 6255.5459 |  | 4317.0859 |  |  |  |  | Apr
| after 25 years | 13919.1054 |  | 7089.4444 |  | 6829.661 |  |  |  |  | May
| after 30 years | 18526.7643 |  | 9087.7479 |  | 9439.0164 |  |  |  |  | Jun
Other Economic Values: | [10 empty] | Jul
| CO2 Savings | 3214.9758 | lb/year | [7 empty] | Aug
| CO2 Dollar Value | 48.2246 | $/year | 30 | $/ton | [5 empty] | Sep
| RECs Dollar Value | 69.6888 | $/year | 0.03 | $/kWh | 0.3516 | $/therm |  |  |  | Oct
| Total Other Value | 117.9134 | $/year | [7 empty] | Nov
Dec

## Calculator (2) (hidden)
Florida Solar Hot Water Calculator
User Inputs:
| No. Occupants | 4 | 1 | 4000 |  |  |  | North | Central | South
| FL Location | North | [5 empty] | 74.1533 | 77.4287 | 81.7758 |  |  |  | Natural gas (EFg, std)
| Solar System EF | 4 |  |  | SEF,corr = | 3.696 | SEF,Corr: | 3.696 | 3.5904 | 3.5488 |  |  |  | North | Central | South
| Solar System Cost | 4400 | installed cost |  | EFe,corr = | 0.921 | EFe,corr: | 0.921 | 0.92696 | 0.89862 |  | EFg,corr = | 0.57697 | 0.57697 | 0.58043 | 0.55844
| IRS Tax Credit | Yes | 1320 | 1320 | 30% | of installed cost |  | Yes | No
| FL State Rebate | Yes | 500
| FL Utility Rebate |  | 0 |  | [Progress Energy only]
| Std. System Type | Electric | [5 empty] | Electric | Gas
Load Variables: | [9 empty] | Other Fixed Variables:
| H2O Use (gal/day) | 70 | gpd |  | [ = 30 + 10 * # Occupants ] | [6 empty] | Std. System EF | 0.921 | [ assumes minimum standard 52 gallon system ]
| H2O density | 8.3 | lb/gal |  | [ standard value ] | [6 empty] | Std. System Cost | 300 | [ assumes $300 for electric and $500 for gas]
| H2O Specific Heat | 1 | Btu/lb-F |  | [ standard value ] | [6 empty] | Std. System Offset | 250 | [ portion of standard system cost that is avoided by solar system (e.g. standard electric tank) ]
| Tank Setpoint | 120 | F |  | [ per plumbing code and system standards ]
| Inlet Temp | 74.1533 | F |  | [ determined by FL location input ] | [5 empty] | EIA price data (as of August 2007)
Load & Energy Calculations: | [11 empty] | Retail Elect. Price | 0.1128 | per kWh
| Daily Load | 26636.9133 | Btu/day |  | [ = Use * density * specific heat * (Setpoint - Inlet Temp) ] | [6 empty] | Retail Gas Price | 2.154 | per therm
| Annual Load | 9722.4734 | kBtu/yr |  | [ = Daily Load * 365 / 1000 ]
| Std. System Energy | 3093.9264 | kWh/yr |  | [ = Annual Load / Std. EF / (3.412 for kWh OR 100 for therms) ] | [5 empty] | EPA Emissions Data (eGrid v2.1)
| Sol Sys Backup Energy | 770.967 | kWh/yr |  | [ = Annual Load / Solar EF / (3.412 for kWh OR 100 for therms) ] | [6 empty] | CO2: | 1.384 | lb/kWh
| Solar Energy Savings | 2322.9594 | kWh/year |  | [ = Std. System Energy - Sol Sys Backup Energy ] | [6 empty] | Natural gas
| Solar Dollar Savings | 262.0298 | $/year |  | [ = Solar Energy Savings * Retail Elect. Price ] | [6 empty] | CO2: | 11.935 | lb/therm
| Solar Fraction | 75.08% | percent |  | [ = (Std.System Energy - Sol System Backup Energy) / (std. System Energy) ]
Economic Indicators:
| Net Solar System Cost | 2330 |  |  | [ = Solar System Cost - IRS Tax Credit - FL State Rebate - FL Utility Rebate - Std. System Offset ]
| Simple payback | 8.8921 | years |  | [ = Net Solar Cost / Solar Dollar Savings ]
| Internal Rate of Return | 13.26% |  |  | [ see Econ tab ]
| Net Present Value | 3532.1999 |  |  | [ see Econ tab ] |  |  |  |  | 30% | 2000
| Levelized cost of savings | 6.1578 | ¢ / kWh | [7 empty] | 6666.6667
Life Cycle Cost Analysis: |  | Std. System |  | Solar System |  | Solar Savings
| after 5 years | 2102.8613 |  | 3041.7094 |  | -938.8481
| after 10 years | 4654.0103 |  | 4148.1216 |  | 505.8887
| after 15 years | 7144.1009 |  | 4768.6204 |  | 2375.4805
| after 20 years | 10572.6318 |  | 6255.5459 |  | 4317.0859
| after 25 years | 13919.1054 |  | 7089.4444 |  | 6829.661
| after 30 years | 18526.7643 |  | 9087.7479 |  | 9439.0164
Other Economic Values:
| CO2 Savings | 3214.9758 | lb/year
| CO2 Dollar Value | 48.2246 | $/year | 30 | $/ton
| RECs Dollar Value | 69.6888 | $/year | 0.03 | $/kWh | 0.3516 | $/therm
| Total Other Value | 117.9134 | $/year

## Econ (hidden)
Economic Calculations:
Gen Inflation |  |  | 3% |  |  | CRF = | 0.061392 | [ = discount_rate/(1-(1_discount_rate)^-life) ]
Fuel Escalation |  |  | 0% |  |  | Levelized Cost = | 143.0423
Discount Rate |  |  | 4.5% |  |  | CCE = | 0.061578
Maintanence |  |  | 300 | replace tank |  |  |  | 425 | replace tank & pump
[12 empty] | IRR = | 13.26%
Cash Flows: | [11 empty] | NPV = | 3532.1999
| Standard System |  |  |  |  | Solar System |  |  |  |  | Cum Solar | An. Solar | Calc | PV of
| Year | 1st Cost | Maint $ | Energy $ | Cum $ | Year | 1st Cost | Maint $ | Energy $ | Cum $ | Savings | Savings | Date | Savings
| 0 | 250 |  |  | 250 | 0 | 2580 |  |  | 2580 | -2330 | -2330 | 2007-01-01 | -2330
| 1 |  |  | 348.9949 | 598.9949 | 1 |  |  | 86.9651 | 2666.9651 | -2067.9702 | 262.0298 | 2008-01-01 | 250.7462
| 2 |  |  | 359.4647 | 958.4596 | 2 |  |  | 89.574 | 2756.5391 | -1798.0795 | 269.8907 | 2009-01-01 | 247.147
| 3 |  |  | 370.2487 | 1328.7083 | 3 |  |  | 92.2612 | 2848.8004 | -1520.092 | 277.9874 | 2010-01-01 | 243.5994
| 4 |  |  | 381.3561 | 1710.0645 | 4 |  |  | 95.0291 | 2943.8294 | -1233.765 | 286.3271 | 2011-01-01 | 240.1028
| 5 |  |  | 392.7968 | 2102.8613 | 5 |  |  | 97.88 | 3041.7094 | -938.8481 | 294.9169 | 2012-01-01 | 236.6564
| 6 |  |  | 404.5807 | 2507.442 | 6 |  |  | 100.8164 | 3142.5258 | -635.0837 | 303.7644 | 2013-01-01 | 233.2594
| 7 |  |  | 416.7182 | 2924.1602 | 7 |  |  | 103.8408 | 3246.3666 | -322.2064 | 312.8773 | 2014-01-01 | 229.9112
| 8 |  |  | 429.2197 | 3353.3799 | 8 |  |  | 106.9561 | 3353.3227 | 0.057217 | 322.2636 | 2015-01-01 | 226.611
| 9 |  |  | 442.0963 | 3795.4762 | 9 |  |  | 110.1648 | 3463.4874 | 331.9888 | 331.9315 | 2016-01-01 | 223.3582
| 10 |  | 403.1749 | 455.3592 | 4654.0103 | 10 |  | 571.1645 | 113.4697 | 4148.1216 | 505.8887 | 173.8999 | 2017-01-01 | 111.979
| 11 |  |  | 469.02 | 5123.0302 | 11 |  |  | 116.8738 | 4264.9954 | 858.0349 | 352.1462 | 2018-01-01 | 216.992
| 12 |  |  | 483.0906 | 5606.1208 | 12 |  |  | 120.38 | 4385.3754 | 1220.7454 | 362.7106 | 2019-01-01 | 213.8773
| 13 |  |  | 497.5833 | 6103.7041 | 13 |  |  | 123.9914 | 4509.3668 | 1594.3373 | 373.5919 | 2020-01-01 | 210.8073
| 14 |  |  | 512.5108 | 6616.2148 | 14 |  |  | 127.7111 | 4637.0779 | 1979.1369 | 384.7996 | 2021-01-01 | 207.7814
| 15 |  |  | 527.8861 | 7144.1009 | 15 |  |  | 131.5425 | 4768.6204 | 2375.4805 | 396.3436 | 2022-01-01 | 204.7988
| 16 |  |  | 543.7227 | 7687.8236 | 16 |  |  | 135.4888 | 4904.1092 | 2783.7144 | 408.2339 | 2023-01-01 | 201.8592
| 17 |  |  | 560.0344 | 8247.858 | 17 |  |  | 139.5534 | 5043.6626 | 3204.1954 | 420.4809 | 2024-01-01 | 198.9617
| 18 |  |  | 576.8354 | 8824.6933 | 18 |  |  | 143.74 | 5187.4026 | 3637.2907 | 433.0954 | 2025-01-01 | 196.1057
| 19 |  |  | 594.1404 | 9418.8338 | 19 |  |  | 148.0522 | 5335.4548 | 4083.379 | 446.0882 | 2026-01-01 | 193.2908
| 20 |  | 541.8334 | 611.9647 | 10572.6318 | 20 |  | 767.5973 | 152.4938 | 6255.5459 | 4317.0859 | 233.707 | 2027-01-01 | 96.9049
| 21 |  |  | 630.3236 | 11202.9554 | 21 |  |  | 157.0686 | 6412.6145 | 4790.341 | 473.255 | 2028-01-01 | 187.7816
| 22 |  |  | 649.2333 | 11852.1887 | 22 |  |  | 161.7807 | 6574.3951 | 5277.7936 | 487.4527 | 2029-01-01 | 185.0862
| 23 |  |  | 668.7103 | 12520.899 | 23 |  |  | 166.6341 | 6741.0292 | 5779.8698 | 502.0762 | 2030-01-01 | 182.4295
| 24 |  |  | 688.7716 | 13209.6707 | 24 |  |  | 171.6331 | 6912.6623 | 6297.0084 | 517.1385 | 2031-01-01 | 179.8109
| 25 |  |  | 709.4348 | 13919.1054 | 25 |  |  | 176.7821 | 7089.4444 | 6829.661 | 532.6527 | 2032-01-01 | 177.2298
| 26 |  |  | 730.7178 | 14649.8232 | 26 |  |  | 182.0856 | 7271.53 | 7378.2933 | 548.6323 | 2033-01-01 | 174.6859
| 27 |  |  | 752.6393 | 15402.4626 | 27 |  |  | 187.5481 | 7459.0781 | 7943.3845 | 565.0912 | 2034-01-01 | 172.1784
| 28 |  |  | 775.2185 | 16177.6811 | 28 |  |  | 193.1746 | 7652.2526 | 8525.4285 | 582.044 | 2035-01-01 | 169.707
| 29 |  |  | 798.4751 | 16976.1562 | 29 |  |  | 198.9698 | 7851.2224 | 9124.9337 | 599.5053 | 2036-01-01 | 167.271
| 30 |  | 728.1787 | 822.4293 | 18526.7643 | 30 |  | 1031.5866 | 204.9389 | 9087.7479 | 9439.0164 | 314.0826 | 2037-01-01 | 83.8601
[12 empty] | 11769.0164 |  | 3534.79
5864.79

## Econ (2) (hidden)
Economic Calculations:
Gen Inflation |  |  | 3% |  |  | CRF = | 0.061392 | [ = discount_rate/(1-(1_discount_rate)^-life) ]
Fuel Escalation |  |  | 0% |  |  | Levelized Cost = | 143.0423
Discount Rate |  |  | 4.5% |  |  | CCE = | 0.061578
Maintanence |  |  | 300 | replace tank |  |  |  | 425 | replace tank & pump
[12 empty] | IRR = | 13.26%
Cash Flows: | [11 empty] | NPV = | 3532.1999
| Standard System |  |  |  |  | Solar System |  |  |  |  | Cum Solar | An. Solar | Calc | PV of
| Year | 1st Cost | Maint $ | Energy $ | Cum $ | Year | 1st Cost | Maint $ | Energy $ | Cum $ | Savings | Savings | Date | Savings
| 0 | 250 |  |  | 250 | 0 | 2580 |  |  | 2580 | -2330 | -2330 | 2007-01-01 | -2330
| 1 |  |  | 348.9949 | 598.9949 | 1 |  |  | 86.9651 | 2666.9651 | -2067.9702 | 262.0298 | 2008-01-01 | 250.7462
| 2 |  |  | 359.4647 | 958.4596 | 2 |  |  | 89.574 | 2756.5391 | -1798.0795 | 269.8907 | 2009-01-01 | 247.147
| 3 |  |  | 370.2487 | 1328.7083 | 3 |  |  | 92.2612 | 2848.8004 | -1520.092 | 277.9874 | 2010-01-01 | 243.5994
| 4 |  |  | 381.3561 | 1710.0645 | 4 |  |  | 95.0291 | 2943.8294 | -1233.765 | 286.3271 | 2011-01-01 | 240.1028
| 5 |  |  | 392.7968 | 2102.8613 | 5 |  |  | 97.88 | 3041.7094 | -938.8481 | 294.9169 | 2012-01-01 | 236.6564
| 6 |  |  | 404.5807 | 2507.442 | 6 |  |  | 100.8164 | 3142.5258 | -635.0837 | 303.7644 | 2013-01-01 | 233.2594
| 7 |  |  | 416.7182 | 2924.1602 | 7 |  |  | 103.8408 | 3246.3666 | -322.2064 | 312.8773 | 2014-01-01 | 229.9112
| 8 |  |  | 429.2197 | 3353.3799 | 8 |  |  | 106.9561 | 3353.3227 | 0.057217 | 322.2636 | 2015-01-01 | 226.611
| 9 |  |  | 442.0963 | 3795.4762 | 9 |  |  | 110.1648 | 3463.4874 | 331.9888 | 331.9315 | 2016-01-01 | 223.3582
| 10 |  | 403.1749 | 455.3592 | 4654.0103 | 10 |  | 571.1645 | 113.4697 | 4148.1216 | 505.8887 | 173.8999 | 2017-01-01 | 111.979
| 11 |  |  | 469.02 | 5123.0302 | 11 |  |  | 116.8738 | 4264.9954 | 858.0349 | 352.1462 | 2018-01-01 | 216.992
| 12 |  |  | 483.0906 | 5606.1208 | 12 |  |  | 120.38 | 4385.3754 | 1220.7454 | 362.7106 | 2019-01-01 | 213.8773
| 13 |  |  | 497.5833 | 6103.7041 | 13 |  |  | 123.9914 | 4509.3668 | 1594.3373 | 373.5919 | 2020-01-01 | 210.8073
| 14 |  |  | 512.5108 | 6616.2148 | 14 |  |  | 127.7111 | 4637.0779 | 1979.1369 | 384.7996 | 2021-01-01 | 207.7814
| 15 |  |  | 527.8861 | 7144.1009 | 15 |  |  | 131.5425 | 4768.6204 | 2375.4805 | 396.3436 | 2022-01-01 | 204.7988
| 16 |  |  | 543.7227 | 7687.8236 | 16 |  |  | 135.4888 | 4904.1092 | 2783.7144 | 408.2339 | 2023-01-01 | 201.8592
| 17 |  |  | 560.0344 | 8247.858 | 17 |  |  | 139.5534 | 5043.6626 | 3204.1954 | 420.4809 | 2024-01-01 | 198.9617
| 18 |  |  | 576.8354 | 8824.6933 | 18 |  |  | 143.74 | 5187.4026 | 3637.2907 | 433.0954 | 2025-01-01 | 196.1057
| 19 |  |  | 594.1404 | 9418.8338 | 19 |  |  | 148.0522 | 5335.4548 | 4083.379 | 446.0882 | 2026-01-01 | 193.2908
| 20 |  | 541.8334 | 611.9647 | 10572.6318 | 20 |  | 767.5973 | 152.4938 | 6255.5459 | 4317.0859 | 233.707 | 2027-01-01 | 96.9049
| 21 |  |  | 630.3236 | 11202.9554 | 21 |  |  | 157.0686 | 6412.6145 | 4790.341 | 473.255 | 2028-01-01 | 187.7816
| 22 |  |  | 649.2333 | 11852.1887 | 22 |  |  | 161.7807 | 6574.3951 | 5277.7936 | 487.4527 | 2029-01-01 | 185.0862
| 23 |  |  | 668.7103 | 12520.899 | 23 |  |  | 166.6341 | 6741.0292 | 5779.8698 | 502.0762 | 2030-01-01 | 182.4295
| 24 |  |  | 688.7716 | 13209.6707 | 24 |  |  | 171.6331 | 6912.6623 | 6297.0084 | 517.1385 | 2031-01-01 | 179.8109
| 25 |  |  | 709.4348 | 13919.1054 | 25 |  |  | 176.7821 | 7089.4444 | 6829.661 | 532.6527 | 2032-01-01 | 177.2298
| 26 |  |  | 730.7178 | 14649.8232 | 26 |  |  | 182.0856 | 7271.53 | 7378.2933 | 548.6323 | 2033-01-01 | 174.6859
| 27 |  |  | 752.6393 | 15402.4626 | 27 |  |  | 187.5481 | 7459.0781 | 7943.3845 | 565.0912 | 2034-01-01 | 172.1784
| 28 |  |  | 775.2185 | 16177.6811 | 28 |  |  | 193.1746 | 7652.2526 | 8525.4285 | 582.044 | 2035-01-01 | 169.707
| 29 |  |  | 798.4751 | 16976.1562 | 29 |  |  | 198.9698 | 7851.2224 | 9124.9337 | 599.5053 | 2036-01-01 | 167.271
| 30 |  | 728.1787 | 822.4293 | 18526.7643 | 30 |  | 1031.5866 | 204.9389 | 9087.7479 | 9439.0164 | 314.0826 | 2037-01-01 | 83.8601
3534.79
5864.79

## location (hidden)
| Active | wrt N
North | 3.4807 | 1
Central | 6.2002 | 1.7813
South | 7.6038 | 2.1846

## T-mains (hidden)
Inlet Water Mains Temperatures for Florida TMY2 sites:
Location | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | AnnAvg
Tallahassee | 64.77 | 65.07 | 67.6 | 71.72 | 76.35 | 80.28 | 82.49 | 82.4 | 80.04 | 76.02 | 71.32 | 67.35 | 73.7842
Jacksonville | 66.05 | 66.38 | 68.81 | 72.69 | 77.03 | 80.68 | 82.7 | 82.56 | 80.3 | 76.5 | 72.16 | 68.41 | 74.5225
North Avg: | 65.41 | 65.725 | 68.205 | 72.205 | 76.69 | 80.48 | 82.595 | 82.48 | 80.17 | 76.26 | 71.74 | 67.88 | 74.1533
Daytona Beach | 69.04 | 69.46 | 71.71 | 75.2 | 79.02 | 82.18 | 83.84 | 83.58 | 81.47 | 78.05 | 74.22 | 70.98 | 76.5625
Tampa | 70.92 | 71.45 | 73.73 | 77.18 | 80.9 | 83.91 | 85.44 | 85.07 | 82.92 | 79.53 | 75.8 | 72.69 | 78.295
Central Avg: | 69.98 | 70.455 | 72.72 | 76.19 | 79.96 | 83.045 | 84.64 | 84.325 | 82.195 | 78.79 | 75.01 | 71.835 | 77.4287
West Palm Beach | 74.74 | 75.27 | 77.16 | 79.93 | 82.84 | 85.14 | 86.24 | 85.84 | 84.04 | 81.33 | 78.39 | 76.01 | 80.5775
Miami | 76.07 | 76.61 | 78.42 | 81.01 | 83.72 | 85.85 | 86.82 | 86.4 | 84.69 | 82.14 | 79.41 | 77.21 | 81.5292
Key West | 77.89 | 78.49 | 80.31 | 82.87 | 85.5 | 87.52 | 88.4 | 87.91 | 86.18 | 83.66 | 81.01 | 78.91 | 83.2208
South Avg: | 76.2333 | 76.79 | 78.63 | 81.27 | 84.02 | 86.17 | 87.1533 | 86.7167 | 84.97 | 82.3767 | 79.6033 | 77.3767 | 81.7758
120
Tampa | [13 empty] | Load@64.3 gpd
NREL | 70.92 | 71.45 | 73.73 | 77.18 | 80.9 | 83.91 | 85.44 | 85.07 | 82.92 | 79.53 | 75.8 | 72.69 | 78.295 | 2392.4837
F-Chart | 71.6 | 71.6 | 71.8 | 72.1 | 72.4 | 72.6 | 72.6 | 72.6 | 72.6 | 72.3 | 71.9 | 71.6 | 72.1417 | 2745.481
Cocoa (meas) | 67.5 | 69.07 | 69.74 | 74.26 | 79.24 | 79.87 | 82.06 | 81.78 | 80.72 | 78.05 | 74.44 | 70.31 | 75.5867 | 2547.8522
NREL (adj) | 68.92 | 69.45 | 71.73 | 75.18 | 78.9 | 81.91 | 83.44 | 83.07 | 80.92 | 77.53 | 73.8 | 70.69 | 76.295 | 2507.2174
| Year | 0.75% | degredation per year
| 1 | 1350
| 2 | 1339.875
| 3 | 1329.8259
| 4 | 1319.8522
| 5 | 1309.9534
| 6 | 1300.1287
| 7 | 1290.3777
| 8 | 1280.6999
| 9 | 1271.0947
| 10 | 1261.5614
| 11 | 1252.0997
| 12 | 1242.709
| 13 | 1233.3887
| 14 | 1224.1383
| 15 | 1214.9572
| 16 | 1205.845
| 17 | 1196.8012
| 18 | 1187.8252
| 19 | 1178.9165
| 20 | 1170.0746
| Average: | 1258.0062
| Total degredation: | 13.33%
Solar
| Average | 7.5 | kWh/day | 2737.5 | kWh/year |  | 3.7 persons |  | 67 gpd

## egUSAruns (N) (hidden)
Solar Hot Water Energy Factor Correlations -- from EnergyGauge 2.7.02 simulations
Jacksonville TMY2 weather: | [11 empty] | Standard Elec System |  |  |  | Standard Gas system
# Occ | gpd | Load | Std.Sys.* | Solar** | SolSave | SolFrac | SEF | nSEF | # Occ | # Occ^2 | pred | Efe | nEFe | pred |  | therms** | EFg | nEFg | pred
1 | 40 | 1628.2823 | 1879 | 308 | 1571 | 83.61% | 5.2866 | 1.5189 | 1 | 1 | 1.497 | 0.86657 | 0.94753 | 0.94974 |  | 114 | 0.48748 | 0.85673 | 0.8635
2 | 50 | 2035.3528 | 2286 | 464 | 1822 | 79.7% | 4.3865 | 1.2603 | 2 | 4 | 1.268 | 0.89036 | 0.97354 | 0.97216 |  | 131 | 0.53027 | 0.93194 | 0.925
3 | 60 | 2442.4234 | 2689 | 657 | 2032 | 75.57% | 3.7175 | 1.0681 | 3 | 9 | 1.073 | 0.9083 | 0.99316 | 0.99126 |  | 149 | 0.55946 | 0.98323 | 0.9785
3.43 | 64.3 | 2617.4637 | 2862 | 752 | 2110 | 73.72% | 3.4807 | 1 | 3.43 | 11.7649 | 0.9996 | 0.91456 | 1 | 0.99845 |  | 157 | 0.569 | 1 | 0.99905 | Standard rating condition
4 | 70 | 2849.494 | 3093 | 888 | 2205 | 71.29% | 3.2089 | 0.92192 | 4 | 16 | 0.912 | 0.92127 | 1.0073 | 1.007 |  | 167 | 0.58235 | 1.0235 | 1.024
5 | 80 | 3256.5645 | 3499 | 1153 | 2346 | 67.05% | 2.8244 | 0.81146 | 5 | 25 | 0.785 | 0.93071 | 1.0177 | 1.0195 |  | 185 | 0.60079 | 1.0559 | 1.0615
6 | 90 | 3663.6351 | 3903 | 1443 | 2460 | 63.03% | 2.5389 | 0.72943 | 6 | 36 | 0.692 | 0.93867 | 1.0264 | 1.0286 |  | 202 | 0.619 | 1.0879 | 1.091
7 | 100 | 4070.7056 | 4307 | 1756 | 2551 | 59.23% | 2.3182 | 0.66601 | 7 | 49 | 0.633 | 0.94514 | 1.0334 | 1.0345 |  | 220 | 0.63151 | 1.1099 | 1.1125
8 | 110 | 4477.7762 | 4713 | 2087 | 2626 | 55.72% | 2.1456 | 0.61642 | 8 | 64 | 0.608 | 0.95009 | 1.0389 | 1.037 |  | 238 | 0.64212 | 1.1285 | 1.126
* 52 gal, electric, EF=0.90 | [15 empty] | ** Minimum standard 50 gallon system; EF = 0.59
** 40 sf; 80 gal; closed loop; PV pump; loss coeff = 0.7344; tank U = 0.1233; tilt 27 deg; azimuth 180 deg
| SEF,corr = SEF * (1.760 - 0.277 * #Occ +0.0170 * #Occ^2) | [10 empty] | EFe,corr = EFe * (0.924 + 0.0274 * #Occ - 0.00166 * #Occ^2) | [8 empty] | EFg,corr = EFg * (0.794 + 0.0735 * #Occ - 0.0040 * #Occ^2)
| SUMMARY OUTPUT | [10 empty] | SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT
| Regression Statistics | [10 empty] | Regression Statistics | [8 empty] | Regression Statistics
| Multiple R | 0.99876 | [9 empty] | Multiple R | 0.99815 | [7 empty] | Multiple R | 0.99863
| R Square | 0.99752 | [9 empty] | R Square | 0.9963 | [7 empty] | R Square | 0.99726
| Adjusted R Square | 0.99669 | [9 empty] | Adjusted R Square | 0.99506 | [7 empty] | Adjusted R Square | 0.99635
| Standard Error | 0.016975 | [9 empty] | Standard Error | 0.0020828 | [7 empty] | Standard Error | 0.0053166
| Observations | 9 | [9 empty] | Observations | 9 | [7 empty] | Observations | 9
| ANOVA | [10 empty] | ANOVA | [8 empty] | ANOVA
|  | df | SS | MS | F | Significance F | [6 empty] | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
| Regression | 2 | 0.69492 | 0.34746 | 1205.8471 | 1.5284e-08 | [5 empty] | Regression | 2 | 0.0070036 | 0.0035018 | 807.2345 | 5.0761e-08 |  |  |  | Regression | 2 | 0.061747 | 0.030873 | 1092.2229 | 2.0552e-08
| Residual | 6 | 0.0017289 | 0.00028815 | [7 empty] | Residual | 6 | 2.6028e-05 | 4.338e-06 | [5 empty] | Residual | 6 | 0.0001696 | 2.8267e-05
| Total | 8 | 0.69665 | [8 empty] | Total | 8 | 0.0070296 | [6 empty] | Total | 8 | 0.061916
|  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | Upper 95.0% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
| Intercept | 1.7595 | 0.023604 | 74.5433 | 3.923e-10 | 1.7018 | 1.8173 | 1.7018 | 1.8173 | 2.1767 |  | Intercept | 0.92407 | 0.0028962 | 319.065 | 6.3968e-14 | 0.91698 | 0.93116 | 0.91698 | 0.93116 | Intercept | 0.79396 | 0.0073929 | 107.3946 | 4.3936e-11 | 0.77587 | 0.81205 | 0.77587 | 0.81205
| X Variable 1 | -0.27674 | 0.011709 | -23.6354 | 3.7649e-07 | -0.30539 | -0.24809 | -0.30539 | -0.24809 | -0.35794 |  | X Variable 1 | 0.027362 | 0.0014366 | 19.0459 | 1.3545e-06 | 0.023847 | 0.030877 | 0.023847 | 0.030877 | X Variable 1 | 0.073548 | 0.0036672 | 20.0556 | 9.9771e-07 | 0.064575 | 0.082521 | 0.064575 | 0.082521
| X Variable 2 | 0.017002 | 0.0012561 | 13.5354 | 1.0086e-05 | 0.013928 | 0.020075 | 0.013928 | 0.020075 | 0.029882 |  | X Variable 2 | -0.0016575 | 0.00015412 | -10.7543 | 3.8204e-05 | -0.0020346 | -0.0012804 | -0.0020346 | -0.0012804 | X Variable 2 | -0.0040239 | 0.00039342 | -10.2279 | 5.0929e-05 | -0.0049865 | -0.0030612 | -0.0049865 | -0.0030612

## egUSAruns (C) (hidden)
Solar Hot Water Energy Factor Correlations -- from EnergyGauge 2.7.02 simulations
Tampa TMY2 weather: | [11 empty] | Standard Elec System |  |  |  | Standard Gas system
# Occ | gpd | Load | Std.Sys.* | Solar** | SolSave | SolFrac | SEF | nSEF | # Occ | # Occ^2 | pred | EFe | nEFe | pred |  | therms** | EFg | nEFg | pred
1 | 40 | 1511.9531 | 1738 | 148 | 1590 | 91.48% | 10.2159 | 1.6477 | 1 | 1 | 1.6311 | 0.86994 | 0.94494 | 0.94688 |  | 107 | 0.48227 | 0.84882 | 0.8545
2 | 50 | 1889.9414 | 2111 | 228 | 1883 | 89.2% | 8.2892 | 1.3369 | 2 | 4 | 1.3444 | 0.89528 | 0.97247 | 0.97032 |  | 123 | 0.52442 | 0.92301 | 0.9186
3 | 60 | 2267.9297 | 2482 | 336 | 2146 | 86.46% | 6.7498 | 1.0886 | 3 | 9 | 1.0999 | 0.91375 | 0.99253 | 0.99032 |  | 139 | 0.55686 | 0.98012 | 0.9743
3.43 | 64.3 | 2430.4647 | 2640 | 392 | 2248 | 85.15% | 6.2002 | 1 | 3.43 | 11.7649 | 1.0077 | 0.92063 | 1 | 0.99786 |  | 146 | 0.56816 | 1 | 0.99567 | Standard rating condition
4 | 70 | 2645.918 | 2852 | 475 | 2377 | 83.35% | 5.5704 | 0.89842 | 4 | 16 | 0.8976 | 0.92774 | 1.0077 | 1.0069 |  | 155 | 0.58261 | 1.0254 | 1.0216
5 | 80 | 3023.9063 | 3225 | 647 | 2578 | 79.94% | 4.6737 | 0.75381 | 5 | 25 | 0.7375 | 0.93765 | 1.0185 | 1.02 |  | 172 | 0.60003 | 1.0561 | 1.0605
6 | 90 | 3401.8945 | 3595 | 848 | 2747 | 76.41% | 4.0117 | 0.64703 | 6 | 36 | 0.6196 | 0.94628 | 1.0279 | 1.0297 |  | 188 | 0.61758 | 1.087 | 1.091
7 | 100 | 3779.8828 | 3965 | 1075 | 2890 | 72.89% | 3.5162 | 0.56711 | 7 | 49 | 0.5439 | 0.95331 | 1.0355 | 1.0359 |  | 204 | 0.63238 | 1.113 | 1.1131
8 | 110 | 4157.8711 | 4338 | 1327 | 3011 | 69.41% | 3.1333 | 0.50536 | 8 | 64 | 0.5104 | 0.95848 | 1.0411 | 1.0387 |  | 220 | 0.64503 | 1.1353 | 1.1268
* 52 gal, electric, EF=0.90 | [15 empty] | ** Minimum standard 50 gallon system; EF = 0.59
** 40 sf; 80 gal; open loop; PV pump; loss coeff = 0.7344; tank U = 0.1233; tilt 27 deg; azimuth 180 deg
| SEF,corr = SEF * (1.960 - 0.350 * #Occ +0.0211 * #Occ^2) | [10 empty] | EFe,corr = EFe * (0.920 + 0.0286 * #Occ - 0.00172 * #Occ^2) | [8 empty] | EFg,corr = EFg * (0.782 + 0.0767 * #Occ - 0.0042 * #Occ^2)
| SUMMARY OUTPUT | [10 empty] | SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT
| Regression Statistics | [10 empty] | Regression Statistics | [8 empty] | Regression Statistics
| Multiple R | 0.99928 | [9 empty] | Multiple R | 0.99819 | [7 empty] | Multiple R | 0.99852
| R Square | 0.99856 | [9 empty] | R Square | 0.99638 | [7 empty] | R Square | 0.99705
| Adjusted R Square | 0.99808 | [9 empty] | Adjusted R Square | 0.99517 | [7 empty] | Adjusted R Square | 0.99607
| Standard Error | 0.01651 | [9 empty] | Standard Error | 0.0021682 | [7 empty] | Standard Error | 0.0058023
| Observations | 9 | [9 empty] | Observations | 9 | [7 empty] | Observations | 9
| ANOVA | [10 empty] | ANOVA | [8 empty] | ANOVA
|  | df | SS | MS | F | Significance F | [6 empty] | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
| Regression | 2 | 1.1326 | 0.5663 | 2077.5161 | 2.9981e-09 | [5 empty] | Regression | 2 | 0.0077622 | 0.0038811 | 825.5602 | 4.7467e-08 |  |  |  | Regression | 2 | 0.068255 | 0.034127 | 1013.6893 | 2.5692e-08
| Residual | 6 | 0.0016355 | 0.00027259 | [7 empty] | Residual | 6 | 2.8207e-05 | 4.7012e-06 | [5 empty] | Residual | 6 | 0.000202 | 3.3666e-05
| Total | 8 | 1.1342 | [8 empty] | Total | 8 | 0.0077904 | [6 empty] | Total | 8 | 0.068457
|  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% | Upper 95.0% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
| Intercept | 1.9585 | 0.022958 | 85.3098 | 1.7473e-10 | 1.9024 | 2.0147 | 1.9024 | 2.0147 | 2.1767 |  | Intercept | 0.92049 | 0.003015 | 305.3054 | 8.3334e-14 | 0.91311 | 0.92787 | 0.91311 | 0.92787 | Intercept | 0.78244 | 0.0080683 | 96.9779 | 8.101e-11 | 0.7627 | 0.80218 | 0.7627 | 0.80218
| X Variable 1 | -0.34865 | 0.011388 | -30.6154 | 8.0611e-08 | -0.37651 | -0.32078 | -0.37651 | -0.32078 | -0.35794 |  | X Variable 1 | 0.028587 | 0.0014956 | 19.1146 | 1.326e-06 | 0.024927 | 0.032246 | 0.024927 | 0.032246 | X Variable 1 | 0.07668 | 0.0040022 | 19.1595 | 1.3077e-06 | 0.066887 | 0.086473 | 0.066887 | 0.086473
| X Variable 2 | 0.021159 | 0.0012217 | 17.3193 | 2.3743e-06 | 0.01817 | 0.024149 | 0.01817 | 0.024149 | 0.029882 |  | X Variable 2 | -0.0017193 | 0.00016044 | -10.7158 | 3.9e-05 | -0.0021119 | -0.0013267 | -0.0021119 | -0.0013267 | X Variable 2 | -0.0041556 | 0.00042936 | -9.6787 | 6.9753e-05 | -0.0052062 | -0.003105 | -0.0052062 | -0.003105
Tampa TMY2 weather:
# Occ | gpd | Load | Std.Sys.* | Solar** | SolSave | SolFrac | SEF | nSEF | # Occ | # Occ^2 | pred
1 | 40 | 1511.9531 | 1738 | 104 | 1634 | 94.02% | 14.538 | 1.3997 | 1 | 1 | 1.3906
2 | 50 | 1889.9414 | 2111 | 149 | 1962 | 92.94% | 12.6842 | 1.2212 | 2 | 4 | 1.2264
3 | 60 | 2267.9297 | 2482 | 206 | 2276 | 91.7% | 11.0094 | 1.06 | 3 | 9 | 1.0774
3.43 | 64.3 | 2430.4647 | 2640 | 234 | 2406 | 91.14% | 10.3866 | 1 | 3.43 | 11.7649 | 1.018
4 | 70 | 2645.918 | 2852 | 267 | 2585 | 90.64% | 9.9098 | 0.9541 | 4 | 16 | 0.9436
5 | 80 | 3023.9063 | 3225 | 362 | 2863 | 88.78% | 8.3533 | 0.80424 | 5 | 25 | 0.825
6 | 90 | 3401.8945 | 3595 | 427 | 3168 | 88.12% | 7.967 | 0.76704 | 6 | 36 | 0.7216
7 | 100 | 3779.8828 | 3965 | 586 | 3379 | 85.22% | 6.4503 | 0.62102 | 7 | 49 | 0.6334
8 | 110 | 4157.8711 | 4338 | 728 | 3610 | 83.22% | 5.7114 | 0.54988 | 8 | 64 | 0.5604
* 52 gal, electric, EF=0.90
** 64 sf; 120 gal; open loop; PV pump; loss coeff = 0.9; tank U = 0.14; tilt 27 deg; azimuth 180 deg
SEF,corr = SEF * (1.57 - 0.187 * #Occ +0.0076 * #Occ^2)
SUMMARY OUTPUT
Regression Statistics
| Multiple R | 0.99707
| R Square | 0.99416
| Adjusted R Square | 0.99221
| Standard Error | 0.024374
| Observations | 9
ANOVA
|  | df | SS | MS | F | Significance F
| Regression | 2 | 0.60654 | 0.30327 | 510.4566 | 1.9946e-07
| Residual | 6 | 0.0035647 | 0.00059411
| Total | 8 | 0.6101
|  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
| Intercept | 1.5673 | 0.033893 | 46.2415 | 6.8536e-09 | 1.4843 | 1.6502 | 1.4843 | 1.6502
| X Variable 1 | -0.18699 | 0.016813 | -11.122 | 3.1491e-05 | -0.22813 | -0.14585 | -0.22813 | -0.14585
| X Variable 2 | 0.0076219 | 0.0018037 | 4.2258 | 0.0055257 | 0.0032085 | 0.012035 | 0.0032085 | 0.012035

## egUSAruns (S) (hidden)
Solar Hot Water Energy Factor Correlations -- from EnergyGauge 2.7.02 simulations
Miami TMY2 weather: | [11 empty] | Standard Elec System |  |  |  | Standard Gas system
# Occ | gpd | Load | Std.Sys.* | Solar** | SolSave | SolFrac | SEF | nSEF | # Occ | # Occ^2 | pred | Efe | nEFe | pred |  | therms** | EFg | nEFg | pred
1 | 40 | 1357.5629 | 1616 | 98 | 1518 | 93.94% | 13.8527 | 1.8218 | 1 | 1 | 1.7917 | 0.84008 | 0.94236 | 0.94519 |  | 100 | 0.46333 | 0.85226 | 0.8571
2 | 50 | 1696.9536 | 1960 | 158 | 1802 | 91.94% | 10.7402 | 1.4125 | 2 | 4 | 1.4328 | 0.86579 | 0.97121 | 0.96976 |  | 115 | 0.50362 | 0.92636 | 0.922
3 | 60 | 2036.3443 | 2301 | 242 | 2059 | 89.48% | 8.4146 | 1.1066 | 3 | 9 | 1.1313 | 0.88498 | 0.99274 | 0.99071 |  | 130 | 0.53461 | 0.98337 | 0.9787
3.43 | 64.3 | 2182.2823 | 2448 | 287 | 2161 | 88.28% | 7.6038 | 1 | 3.43 | 11.7649 | 1.0193 | 0.89146 | 1 | 0.99861 |  | 137 | 0.54365 | 1 | 1.0006 | Standard rating condition
4 | 70 | 2375.735 | 2643 | 355 | 2288 | 86.57% | 6.6922 | 0.88012 | 4 | 16 | 0.8872 | 0.89888 | 1.0083 | 1.008 |  | 145 | 0.55919 | 1.0286 | 1.0272
5 | 80 | 2715.1257 | 2987 | 498 | 2489 | 83.33% | 5.4521 | 0.71702 | 5 | 25 | 0.7005 | 0.90898 | 1.0197 | 1.0217 |  | 160 | 0.57917 | 1.0653 | 1.0675
6 | 90 | 3054.5165 | 3328 | 668 | 2660 | 79.93% | 4.5726 | 0.60136 | 6 | 36 | 0.5712 | 0.91782 | 1.0296 | 1.0318 |  | 175 | 0.59571 | 1.0958 | 1.0996
7 | 100 | 3393.9072 | 3670 | 864 | 2806 | 76.46% | 3.9281 | 0.5166 | 7 | 49 | 0.4993 | 0.92477 | 1.0374 | 1.0383 |  | 190 | 0.60965 | 1.1214 | 1.1235
8 | 110 | 3733.2979 | 4014 | 1084 | 2930 | 72.99% | 3.444 | 0.45293 | 8 | 64 | 0.4848 | 0.93007 | 1.0433 | 1.0412 |  | 205 | 0.62154 | 1.1433 | 1.1392
* 52 gal, electric, EF=0.90 | [15 empty] | ** Minimum standard 50 gallon system; EF = 0.59
** 40 sf; 80 gal; open loop; PV pump; loss coeff = 0.7344; tank U = 0.1233; tilt 27 deg; azimuth 180 deg
| SEF,corr = SEF * (2.208 - 0.445 * #Occ +0.0287 * #Occ^2) | [10 empty] | EFe,corr = EFe * (0.917 + 0.030 * #Occ - 0.00181 * #Occ^2) | [8 empty] | EFg,corr = EFg * (0.784 + 0.0772 * #Occ - 0.0041 * #Occ^2)
| SUMMARY OUTPUT | [10 empty] | SUMMARY OUTPUT | [8 empty] | SUMMARY OUTPUT
| Regression Statistics | [10 empty] | Regression Statistics | [8 empty] | Regression Statistics
| Multiple R | 0.9985 | [9 empty] | Multiple R | 1 | [7 empty] | Multiple R | 0.99926
| R Square | 0.99701 | [9 empty] | R Square | 1 | [7 empty] | R Square | 0.99851
| Adjusted R Square | 0.99601 | [9 empty] | Adjusted R Square | 1 | [7 empty] | Adjusted R Square | 0.99801
| Standard Error | 0.028393 | [9 empty] | Standard Error | 9.4873e-17 | [7 empty] | Standard Error | 0.0042225
| Observations | 9 | [9 empty] | Observations | 9 | [7 empty] | Observations | 9
| ANOVA | [10 empty] | ANOVA | [8 empty] | ANOVA
|  | df | SS | MS | F | Significance F | [6 empty] | df | SS | MS | F | Significance F |  |  |  |  | df | SS | MS | F | Significance F
| Regression | 2 | 1.6116 | 0.80579 | 999.557 | 2.6794e-08 | [5 empty] | Regression | 2 | 0.0084915 | 0.0042457 | 4.717e+29 | 2.5725e-88 |  |  |  | Regression | 2 | 0.071736 | 0.035868 | 2011.6908 | 3.3017e-09
| Residual | 6 | 0.0048369 | 0.00080615 | [7 empty] | Residual | 6 | 5.4005e-32 | 9.0008e-33 | [5 empty] | Residual | 6 | 0.00010698 | 1.783e-05
| Total | 8 | 1.6164 | [8 empty] | Total | 8 | 0.0084915 | [6 empty] | Total | 8 | 0.071843
|  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
| Intercept | 2.2077 | 0.039481 | 55.9172 | 2.1971e-09 | 2.1111 | 2.3043 | 2.1111 | 2.3043 |  |  | Intercept | 0.917 | 1.3192e-16 | 6951000144326039 | 5.9844e-94 | 0.917 | 0.917 | 0.917 | 0.917 | Intercept | 0.78407 | 0.0058715 | 133.5371 | 1.1893e-11 | 0.7697 | 0.79844 | 0.7697 | 0.79844
| X Variable 1 | -0.44506 | 0.019584 | -22.7257 | 4.7537e-07 | -0.49299 | -0.39714 | -0.49299 | -0.39714 |  |  | X Variable 1 | 0.03 | 6.5439e-17 | 4.5844e+14 | 7.2713e-87 | 0.03 | 0.03 | 0.03 | 0.03 | X Variable 1 | 0.07718 | 0.0029125 | 26.4993 | 1.9063e-07 | 0.070053 | 0.084307 | 0.070053 | 0.084307
| X Variable 2 | 0.028683 | 0.002101 | 13.6522 | 9.593e-06 | 0.023542 | 0.033824 | 0.023542 | 0.033824 |  |  | X Variable 2 | -0.00181 | 7.0204e-18 | -2.5782e+14 | 2.2983e-85 | -0.00181 | -0.00181 | -0.00181 | -0.00181 | X Variable 2 | -0.0040948 | 0.00031246 | -13.1051 | 1.2176e-05 | -0.0048594 | -0.0033302 | -0.0048594 | -0.0033302

## Generic Systems (hidden)
Examples of Generic Solar Thermal Systems
System Configuration | Collector (ft2) | Tank (gallons) | Energy Factor (EF)
|  |  | North | Central | South
Drainback, sidearm HX | 40 | 80 | 1.7 | 2.1 | 2.3
Drainback, tank wrap HX | 40 | 80 | 2 | 2.4 | 2.5
Drainback, tank wrap HX | 48 | 80 | 2.3 | 2.8 | 2.9
Drainback, tank wrap HX | 64 | 80 | 2.6 | 3.3 | 3.5
Indirect, tank wrap, glycol | 40 | 80 | 2.6 | 3.4 | 3.9
Direct, diff | 32 | 52 | 2.3 | 2.9 | 3.4
Direct, diff | 40 | 80 | 2.9 | 4.2 | 4.7
Direct, diff | 40 | 80 | 3.2 | 4.9 | 6.4
Direct, PV | 32 | 80 | 3.4 | 5.3 | 6.9
Direct, PV | 40 | 80 | 4.4 | 8.4 | 13.2
Direct, PV | 40 | 80 | 4.5 | 8.6 | 13.8
ICS, Single | 32 | 40 | 1.9 | 2.2 | 2.4
ICS, Single | 25 | 42 | 1.7 | 1.9 | 2.1
ICS, Double | 64 | 80 | 2.9 | 3.8 | 4.6
ICS, Double | 50 | 84 | 2.4 | 3.1 | 3.6